SECTION 08 42 26

FRAMELESS GLASS ENTRANCE SYSTEMS

PART 1 - GENERAL

  - RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

  - SUMMARY

A.	Section includes:

1.	Exterior, vestibule, and interior swinging all-glass entrance door systems.

2.	All-glass sidelites and transoms.

B.	Related work in other sections:

1.	Division 07 Section “Joint Sealants” at interface of all-glass entrances and other building components.

2.	Division 08 Section “All-Glass Storefronts” for storefront systems with all-glass entrances.

3.	Division 08 Section “Door Hardware” for lock cylinders, and handles installed in tempered all-glass entrance doors.

4.	Division 08 Section “Glazed Aluminum Curtain Walls” for curtain wall systems with all-glass entrances.

1.3	SUBMITTALS

A.	Product Data: Submit Manufacturer’s product data for frameless all-glass entrance systems

including:

1. 	Manufacturer’s standard details and fabrication method.

2.	Data on finishing, hardware and accessories.

3.	Recommendations for maintenance and cleaning of exterior finish surfaces.

4.	Test data on fabricated door.

B.	Shop drawings for each all glass entrance system are required, including:

1.	Layout and installation details, scope of work.

2.	Elevations at 1/4 inch = 1 foot scale.

3.	Detail sections of fittings, rails, and framing.

4.	Hardware mounting locations, heights, and quantities.

5.	Anchorage and reinforcement.

6. 	Glazing details.

C. 	Samples for Verification:

1.	Submit pairs of samples of each specified metal color and finish on minimum 6-inch long

sections of extrusions or formed shapes.

2.	Submit samples of glass approximately 12 inches square showing the edge quality

conditions.

1.4	QUALITY ASSURANCE

A.	Installer qualifications: Engage an experienced installer who has completed installations of all-

glass entrances similar in design and extent to those required for the project and whose work has

resulted in construction with a record of successful in-service performance.

B.	Manufacturer’s qualifications: Provide all-glass entrances produced by a firm experienced in       manufacturing entrance systems that are similar to those indicated for this project and that have a      record of successful in service performance. All door rail systems must be tested to ANSI/BHMA Grade 1 standards.

C.	Single source responsibility: Obtain all-glass entrance systems from a single manufacturer, to                    ensure full compatibility and warranty of parts.

D.	Design criteria: The drawings indicate the size, profile and dimensional requirements of the all glass entrance system required and are based on the specific types and models indicated. All   glass entrances by other manufacturers may be considered, provided deviations in dimensions and profiles are minor and do not change the design concept as judged by the Architect. The burden of proof of equality is on the proposer.

E.	Safety glass standard: Provide tempered glass components that comply with ANSI Z97.1-2015 	(R2020) and testing requirements of CPSC 16 CFR 1201 Category II.

F.	Testing criteria for Door Rail: The door rail must be tested to perform 1,000,000 cycles without any failures. The door rail should also be subject to a temperature pull-off test at temperatures from -10ºF to 150ºF (-23ºC to 65.5ºC).  The rail shall remain stationary throughout this test while a 500 pound (227 kg) pressure is applied.

1.5	WARRANTY

A.	General Warranty: Submit a written warranty by the manufacturer agreeing to repair or replace       	components of all-glass entrances that fail in materials or workmanship within a specified 	warranty period.

- Warranty Period: Two years from date of Substantial Completion

1.6	DELIVERY, STORAGE, AND HANDLING

A. 	Deliver all-glass entrance systems and related components in the manufacturer’s original 	protective packaging. Do not deliver entrance units until the work is ready for their installation.

- Inspect components for damage upon delivery. Unless minor defects in metal 			components can be made to meet the Architect’s specifications and satisfaction, 			damaged parts should be removed and replaced.

1.7	PROJECT CONDITIONS

A. 	Field Measurements: Check opening by accurate field measurement before fabrication.

Show recorder measurements on shop drawings. Coordinate fabrication schedule with 	construction progress to avoid delay of the work and possible damage to the finished product.

1.	Where necessary, proceed with fabrication without measurement and coordinate 			             fabrication tolerances to insure proper fit.

PART 2 - PRODUCTS

2.1	MANUFACTURER’S

A. 	Basis of design: Design is based on a Frameless Glass Entrance System featuring heavy 	tempered glass secured to an FHC Advance Herc-Door® Rail System, manufactured by:

Frameless Hardware Company (FHC)

Tel: (888) 295-4531 Fax: (323) 336-8307

Email: sales@fhc-usa.com

Website: www.fhc-usa.com

B.	Subject to compliance with requirements, “all-glass” entrances from other manufacturers

meeting the specified requirements may be acceptable.

2.2	MATERIALS

A.	Glass: Provide flat, fully tempered glass in thickness indicated for doors and sidelites.

Comply with requirements of ASTM C 1048 for FT (fully tempered), Condition A (uncoated                        	surfaces), Type 1 (transparent) Class 1 (clear) glass. Provide products of thickness indicated that           	have been tested for surface and edge compression according to ASTM C 1048 and for impact              	strength according to ANSI Z97.1-2015 (R2020) and testing requirements of CPSC 16 CFR 1201 	Category II materials.

1.	Thickness: 3/8 inch (10 mm) Monolithic Tempered

2.	Thickness: 1/2 inch (12 mm) Monolithic Tempered

3.	Thickness: 9/16 inch (17.52 mm) Laminated Tempered

4.	Thickness: 5/8 inch (16 mm) Monolithic Tempered

5.	Thickness: 3/4 inch (19 mm) Monolithic Tempered

6.	Thickness: 13/16 inch (21.52 mm) Laminated Tempered

7.	Edge treatment: Provide machine ground and polished edges for exposed glass

edges of doors and sidelites and flat ground edges for butting glass edges.

8.	Glass Manufacturers:_____________________________________.

B.	Fittings, General: Provide FHC Advance Herc-Door® Rails in required profile, size and glass thickness as selected by the Architect. Comply with requirements indicated for kind and form of metal finish.

1.	Aluminum: Provide fittings fabricated from aluminum extrusions of alloy and temper                                 	recommended by manufacturer for use intended and required for application of finish                           	indicated, but not less than strength and durability properties specified in ASTM B 221 for                   	6063-T5.

C.	Door Rail Systems: Provide door rail systems matching metal and finish of door fittings. The                 	system shall include, but not limited to, door rails, patches, vertical stiles, center locks, and strike             	housings. Comply with GANA guidelines, and hardware manufacturer requirements for size                   	restrictions. Door rails shall allow for jamb adjustment in or out with standard hardware. System               	shall include, but not limited to, end caps, blocking, and preparation.

1. Profile: Square

2. Profile: Beveled (Only available in 2-1/2 inch or 4 inch high profile)

3. Height: 2-1/2 inch

4. Height: 4 inch

6. Height: 10 inch

7. Height: Custom as indicated on drawings

D.	Accessory Fittings: Provide manufacturer’s standard accessory fittings of the type indicated.                  	Comply with requirements indicated for kind and form of metal and finish of door fittings.

1.	Overhead Door Stop: Provide overhead door stop systems.

2.	Sidelite Systems: Provide sidelite systems matching metal and finish of door fittings. The design of head and sill details is based upon Frameless Hardware Company Top-Load Gasket Sidelite Rails (Tapered or Square 2-1/2” Low Profile, Tapered or Square in 4", or Square 10" heights) as selected by the Architect. Top-Load gasket is cord reinforced EPDM Rubber for long life and no stretching.

E.	Anchors and Fasteners: Manufacturer’s standard concealed anchors and fastenings. Do

not use exposed fasteners.

F.	Weatherstripping: Can be applied to edges of glass and top/bottom door rails to help reduce air and water infiltration. The weatherstripping shall be pile and replaceable without removing doors from opening.

2.3	HARDWARE

A.	General: Provide heavy-duty hardware units as indicated, scheduled or required for operation of               each type of door, including the following items of sizes, numbers and type recommended by the              manufacturer for the type of service required. Provide metal and finish for exposed parts to match              the finish of the door rails.

B.	FHC by Frameless Hardware Company D200 Series extended spindle Overhead Concealed Door Closers and D300 Series Adjustable extended spindle Overhead Concealed Door Closers are double acting and fit into FHC 4-1/2" x 1-3/4" Single or Double Close Headers. Closers secure to the center hung arm in the top door rail. Provide top adjustable arm, bottom adjustable pivot and cover plate if required. Comply with manufacturer’s recommendations for closer size, depending upon door size, exposure to weather, and anticipated frequency of use.

C.	Frameless Hardware Company FHC 80 Selective Hold Open Floor Mounted Closers are double acting and supplied with cement box and Brushed S/S cover plate. Cover plates in other finishes are available.  Provide bottom adjustable arm, top adjustable pivot and finished cover plate if required. Comply with manufacturer’s recommendations for closer size, depending upon door size, exposure to weather, and anticipated frequency of use.

Include the following:

1.	Non-hold-open closers must comply with ADA Handicap requirements.

2.	Consult manufacturer for closer recommendations on doors over 264 lbs.

D.	Push-Pull Set: Provide handles selected by the Architect and supplied by Frameless Hardware Company (FHC).

E.	Concealed HP100 and HP110 Panic Handles: Panic device shall be 1-1/4” diameter FHC’s HP100 or HP110 with interior operating panic handle in combination with exterior fixed pull handles designated by letters. Panic mechanism shall be concealed within the brass or stainless steel tubing. Entrance from exterior by a keyed cylinder is optional.

F.	Electric Strikes: Shall be Folger Adams 310-1 with ¾” straight latch bolt keeper without signal switches using HP100 Panic Handles. Electric strikes are mounted in the header or transom bar.

G.	Locks: Equip exterior doors with manufacturer’s locksets that accept a standard cylinder with

related components. Comply with the following:

1.	Location and function: Provide round throw deadbolt in continuous bottom fitting.

Lock to be operated by key outside and thumbturn inside with end load capability.

H.	Cylinders or Magnetic Locks: Supplied as described under Division 8 section, for keying into building system.

I.	Threshold: Provide manufacturer’s standard extruded aluminum threshold in mill finish.

Coordinate cutouts with operating hardware. Include anchors and jamb clips.

2.4	FABRICATION

A. 	General: Fabricate all-glass entrance components to designs and sizes indicated. Size of

door and profile requirements of fittings and hardware are indicated on the drawings.

1.	Locate and provide holes and cutouts in glass to receive hardware before tempering glass. Do not permit cutting, drilling or other alterations to glass after tempering.

2.	Fabricate work to accommodate required fittings, hardware, anchors, reinforcement, and                           accessory items.

B.	Prefabrication: Complete fabrication, assembly, finishing, hardware application and other

work to the greatest extent possible before shipment to the project site. Disassemble components               only as necessary for shipment and installation.

C.	Continuity: Maintain accurate relation of planes and angles with hairline fit of contracting                           members.

2.5	METAL FINISHES: (List one or more finishes)

A. 	US-28 Clear Satin Anodized Aluminum

313 Dark Bronze/Black Anodized

Black Powder Coat

US-32D Brushed Stainless Steel Clad

US-32 Polished Stainless Steel Clad

US-10BNL Oil Rubbed Bronze Clad

US-3 Polished Brass Clad

PVD “Perma Brass” Polished Clad

Other Custom Metal and Painted finishes available

B.	Preferable use of PVD “Perma Brass” over US-3 Polished Brass Cladding to reduce

maintenance cost in the future.

### PART 3 – EXECUTION

3.1	EXAMINATION

A.	Examine substrates and supports with the installer, present for compliance with requirements                           indicated, installation tolerances and other conditions that affect the installation of all glass                               entrances and storefronts. Correct unsatisfactory conditions before proceeding with the installation.

- Do not proceed with installation until unsatisfactory conditions are corrected.

3.2	INSTALLATION

A.	Install all glass entrance door and associated components in accordance with manufacturer’s                    printed instructions and recommendations.

1.	Verify units level, plumb and true line.

2.	Lubricate hardware and other moving parts.

3.3	ADJUSTING

A.	Adjust doors and hardware to provide a tight fit at meeting points and at weather-stripping for                    smooth operation and weather tight closure.

B.	Hardware: Adjust operating hardware to ensure proper operation. Set, seal, and grout floor closer              cases. Coordinate cylinder installation.

3.4	CLEANING

A.	Clean door and frame surfaces after installation, exercising care to avoid damage to the finish.

B.	Clean glass surfaces after installation, complying with requirements contained in the “Glass and Glazing” section for cleaning and maintenance. Remove excess glazing sealant compounds, dirt or other substances.

3.5	PROTECTION

A.	Institute protective measures required throughout the remainder of the construction period to ensure that the all glass entrances do not incur any damage or deterioration, other than normal    weathering, at the time of acceptance.

END OF SECTION